## GSP info
GSP info (from ETYS Spatial Demand 2020)
The following table gives the location and GSP Group (DNO Licence area) for each Grid Supply Point.
| GSP ID | GSP Group | Minor FLOP | Name | Latitude | Longitude | Comments | Visualisation region ID
| ABNE_P | _P | T4 | Abernethy | 56.3395 | -3.2938 |  | ABNE_P
| ABTH_1 | _K | H2 | Aberthaw | 51.3852 | -3.4033 |  | ABTH_1
| ABHA1 | _L | F6 | Abham | 50.4716 | -3.7295 |  | ABHA1
| ACTL_C | _C | A7 | Acton Lane 22kV | 51.535 | -0.25705 |  | WISD_6;WISD_1;ACTL_C
| ACTL_2 | _H | A7 | Acton Lane 66kV | 51.535 | -0.25705 |  | ACTL_2;CBNK_H;GREE_H;PERI_H
| ALNE_P | _P | T5 | Alness | 57.7081 | -4.2742 |  | ALNE_P
| ALST_3 | _K | H2 | Alpha Steel (Uskmouth) | 51.5487 | -2.9755 |  | USKM_1;ALST_3
| ALVE1 | _L | F6 | Alverdiscott | 51.0057 | -4.1375 |  | ALVE1
| AMEM_1 | _A | A6 | Amersham Main | 51.6642 | -0.65512 |  | AMEM_1
| ARBR_P | _P | T4 | Arbroath | 56.5639 | -2.619 |  | ARBR_P
| ARDK_P | _P | T3 | Ardkinglas | 56.2872 | -4.9555 |  | ARDK_P;CLAC_P
| ARMO_P | _P | T1 | Ardmore | 57.5544 | -6.645 |  | ARMO_P
| AXMI1 | _L | E1 | Axminster | 50.7871 | -2.9244 |  | AXMI1
| AYRR | _N | S6 | Ayr | 55.4569 | -4.5874 |  | AYRR
| BAIN | _N | S5 | Bainsford | 56.0138 | -3.7677 |  | BAIN
| BARKC1 | _C | A1 | Barking | 51.5182 | 0.11316 |  | BARKC1;BARKW3
| BARKW3 | _C | A1 | Barking West | 51.5165 | 0.10696 |  | BARKC1;BARKW3
| BAGA | _N | S5 | Bathgate | 55.9004 | -3.6739 |  | BAGA
| BEAU_P | _P | T1 | Beauly | 57.4676 | -4.4898 |  | BEAU_P;ORRI_P
| BEDDT1 | _C | A8 | Beddington (_C) | 51.374 | -0.12918 |  | BEDDT1
| BEDD_1 | _J | A8 | Beddington (_J) | 51.374 | -0.12918 |  | BEDD_1
| BESW_1 | _B | L3 | Berkswell | 52.3866 | -1.6139 |  | BESW_1
| BERB_P | _P | T1 | Berryburn | 57.5041 | -3.5994 |  | BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P
| BERW | _N | S6 | Berwick | 55.7774 | -2.0787 |  | BERW
| BICF_1 | _B | K4 | Bicker Fen | 52.9308 | -0.22116 |  | BICF_1
| BIRK_1 | _D | N3 | Birkenhead | 53.3659 | -3.0613 |  | BIRK_1
| BISW_1 | _E | L2 | Bishops Wood | 52.3125 | -2.2427 |  | BISW_1
| BLYTB1 | _F | Q6 | Blyth 66kV | 55.1411 | -1.5307 |  | BLYTB1
| BLYTH132 | _F | Q6 | Blyth 132kV | 55.1411 | -1.5307 |  | BLYTH132
| BOAG_P | _P | T1 | Boat of Garten | 57.2493 | -3.723 |  | BOAG_P
| BOLN_1 | _J | B1 | Bolney | 50.9744 | -0.23649 |  | BOLN_1
| BONN | _N | S5 | Bonnybridge | 56.0071 | -3.8603 |  | BONN
| BOTW_1 | _H | B2 | Botley Wood | 50.885 | -1.233 |  | BOTW_1
| BRAC_P | _P | T4 | Braco West | 56.2761 | -3.8777 |  | BRAC_P
| BRAW_1 | _M | P1 | Bradford West | 53.8101 | -1.867 |  | BRAW_1
| BRAP | _N | S6 | Braehead Park | 55.8807 | -4.381 |  | BRAP
| BRAI_1 | _A | J8 | Braintree | 51.8654 | 0.57604 |  | BRAI_1
| BRFO_1 | _A | J5 | Bramford | 52.0702 | 1.0628 |  | BRFO_1;CLT03
| BRLE_1 | _H | B4 | Bramley | 51.3355 | -1.077 |  | FLEE_1;BRLE_1
| BRED_1 | _G | N2 | Bredbury | 53.4152 | -2.1313 |  | BRED_1
| BRID_P | _P | T4 | Bridge of Dun | 56.7204 | -2.5566 |  | BRID_P
| BRWA1 | _L | E7 | Bridgewater | 51.1173 | -2.9688 |  | BRWA1
| BRIM_1 | _A | A3 | Brimsdown | 51.6635 | -0.024885 |  | BRIM_1
| BROA_P | _P | T1 | Broadford | 57.2479 | -5.9358 |  | BROA_P
| BROR_P | _P | T5 | Brora | 58.0199 | -3.8747 |  | BROR_P
| BROX | _N | S6 | Broxburn | 55.9193 | -3.4534 |  | BROX
| BUMU_P | _P | T4 | Burghmuir | 56.3967 | -3.4875 |  | BUMU_P
| BURM_1 | _A | J7 | Burwell Main | 52.2801 | 0.31206 |  | BURM_1
| BUSH_1 | _E | L2 | Bushbury | 52.6362 | -2.1148 |  | BUSH_1
| BUST_1 | _E | L3 | Bustleholme | 52.553 | -1.964 |  | BUST_1
| CAIF_P | _P | T2 | Cairnford | 57.4517 | -2.8497 |  | BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P
| CAMB_01 | _M | P4 | Camblesforth | 53.7295 | -1.0008 |  | CAMB_01
| CBNK_H | _H | A7 | Canal Bank | 51.535 | -0.25705 |  | ACTL_2;CBNK_H;GREE_H;PERI_H
| CANTN1 | _J | C7 | Canterbury | 51.2923 | 1.0942 |  | CANTN1;RICH1;RICH_J | RICH1 not found (since RICH_J came online and replaced it)
| CAPEA1 | _D | N3 | Capenhurst | 53.2662 | -2.948 |  | CAPEA1
| CARE_1 | _K | H2 | Cardiff East | 51.4955 | -3.1447 |  | CARE_1
| CATY | _N | S6 | Carntyne | 55.857 | -4.1966 |  | CATY
| CAAD_P | _P | T3 | Carradale | 55.5903 | -5.5023 |  | CAAD_P
| CARR_1 | _G | N2 | Carrington | 53.4349 | -2.4003 |  | CARR_1 | Was CARR_1;CARR_2 but no CARR_2 so removed.
| CAFA | _N | S6 | Carsfad | 55.1435 | -4.1893 |  | TONG;CAFA;EAST;GLLE;KEOO | Galloway Hydros - Merge to Tongland
| CASS_P | _P | T5 | Cassley | 56.5421 | -4.5167 |  | CASS_P
| CEAN_P | _P | T1 | Ceannacroc | 57.154 | -4.9367 |  | CEAN_P
| CELL_1 | _E | L5 | Cellarhead | 53.0411 | -2.0858 |  | CELL_1
| CHAP | _N | S6 | Chapelcross | 55.0135 | -3.2211 |  | CHAP
| CHAR_P | _P | T4 | Charleston | 56.4738 | -3.0448 |  | CHAR_P
| CHAS | _N | S6 | Charlotte Street | 55.8551 | -4.239 |  | CHAS
| CHSI_1 | _J | A8 | Chessington | 51.3434 | -0.32335 |  | CHSI_1
| CHTE_1 | _B | P3 | Chesterfield | 53.2243 | -1.3875 |  | CHTE_1
| CHIC_1 | _H | E1 | Chickerell | 50.6244 | -2.4893 |  | CHIC_1
| CITR_1 | _C | A7 | City Road | 51.5307 | -0.0958 |  | CITR_1
| CLAC_P | _P | T3 | Clachan | 56.2771 | -4.922 |  | ARDK_P;CLAC_P
| CLT03 | _A | J5 | Clacton | 51.826 | 1.1794 |  | BRFO_1;CLT03 | OFTO for Gunfleet Sands OSW - Merge with Bramford
| CLAY_P | _P | T2 | Clayhills | 57.1402 | -2.0986 |  | CLAY_P
| CLYM | _N | S6 | Clyde’s Mill | 55.8224 | -4.1493 |  | CLYM
| COAT | _N | S6 | Coatbridge | 55.8514 | -4.0134 |  | COAT
| COCK | _N | S6 | Cockenzie | 55.9666 | -2.967 |  | COCK
| CONQA1 | _D | M5 | Connah's Quay | 53.2275 | -3.0727 |  | CONQA1;SASA
| COUA_P | _P | T4 | Coupar Angus | 56.5381 | -3.273 |  | COUA_P
| COVE_1 | _B | L3 | Coventry | 52.4555 | -1.464 |  | COVE_1
| COWL_1 | _H | D6 | Cowley | 51.7103 | -1.1909 |  | COWL_1;ECLA_H
| COYL | _N | S6 | Coylton | 55.4471 | -4.429 |  | COYL
| CRAI_P | _P | T2 | Craigiebuckler | 57.1311 | -2.153 |  | CRAI_P
| CREB_1 | _M | P8 | Creyke Beck | 53.801 | -0.41449 |  | CREB_1
| CUMB | _N | S5 | Cumbernauld | 55.947 | -3.9638 |  | CUMB
| CUPA | _N | S5 | Cupar | 56.3142 | -3.035 |  | CUPA
| CURR | _N | S6 | Currie | 55.9022 | -3.3087 |  | CURR
| DALL_P | _P | T1 | Dallas | 57.5568 | -3.4205 |  | BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P
| DALM3 | _N | S6 | Dalmarnock | 55.8353 | -4.2035 |  | DALM3
| DEVM | _N | S6 | Devol Moor | 55.9274 | -4.6768 |  | DEVM
| DEVO | _N | S5 | Devonside | 56.1373 | -3.7792 |  | DEVO
| DEWP | _N | S6 | Dewar Place | 55.9472 | -3.209 |  | DEWP
| DOUN_P | _P | T5 | Dounreay | 58.5759 | -3.7535 |  | DOUN_P
| DRAK_1 | _B | L2 | Drakelow | 52.7732 | -1.6495 |  | DRAK_1
| DRAX_1 | _M | P4 | Drax | 53.7325 | -0.99257 |  | DRAX_1
| DRUM | _N | S5 | Drumchapel | 55.9157 | -4.3489 |  | DRUM
| DRCR | _N | S5 | Drumcross | 55.9065 | -3.5876 |  | DRCR
| DUDH_P | _P | T4 | Dudhope | 56.4617 | -2.95 |  | DUDH_P
| DUNB | _N | S6 | Dunbar | 55.9766 | -2.5727 |  | DUNB
| DUBE_P | _P | T5 | Dunbeath | 58.2529 | -3.4298 |  | DUBE_P
| DUNF | _N | S5 | Dunfermline | 56.0896 | -3.4489 |  | DUNF
| DUNO_P | _P | S5 | Dunoon | 55.9746 | -4.94 |  | DUNO_P
| DUGR_P | _P | T1 | Dunvegan | 57.4279 | -6.531 |  | DUGR_P
| DYCE_P | _P | T2 | Dyce | 57.2114 | -2.181 |  | DYCE_P
| EALI_6 | _H | A7 | Ealing | 51.5016 | -0.29676 |  | EALI_6
| EAST | _N | S6 | Earlstoun | 55.1102 | -4.1693 |  | TONG;CAFA;EAST;GLLE;KEOO | Galloway Hydros - Merge to Tongland
| ECLA_1 | _B | D4 | East Claydon | 51.9272 | -0.90826 |  | ECLA_1
| ECLA_H | _H | D4 | East Claydon | 51.9272 | -0.90826 |  | COWL_1;ECLA_H | Merge with COWL_1
| EKIL | _N | S6 | East Kilbride | 55.7849 | -4.1916 |  | EKIL
| EKIS | _N | S6 | East Kilbride South | 55.7395 | -4.1611 |  | EKIS
| EERH | _N | S6 | Easterhouse | 55.8786 | -4.073 |  | EERH
| EASO_1 | _A | J4 | Eaton Socon | 52.2149 | -0.30253 |  | EASO_1
| ECCL | _N | S6 | Eccles | 55.6681 | -2.3277 |  | ECCL
| ELDE | _N | S6 | Elderslie | 55.8395 | -4.4629 |  | ELDE
| ELGI_P | _P | T1 | Elgin | 57.6623 | -3.3172 |  | ELGI_P
| ELLA_1 | _M | P1 | Elland | 53.6949 | -1.8226 |  | ELLA_1
| ELST_1 | _A | A6 | Elstree | 51.66 | -0.3423 |  | ELST_1 | Was ELST_1;ELST_2;ELST_3 but no ELST_2 or ELST_3 so adjusted.
| ENDE_1 | _B | L8 | Enderby | 52.5981 | -1.2148 |  | ENDE_1
| ERSK | _N | S6 | Erskine | 55.9036 | -4.481 |  | ERSK
| EXET1 | _L | F6 | Exeter | 50.7665 | -3.4059 |  | EXET1
| FASN_P | _P | T1 | Fasnakyle | 57.3228 | -4.7894 |  | FASN_P
| FAWL_1 | _H | B2 | Fawley | 50.821 | -1.3297 |  | FAWL_1
| FECK_6 | _E | L3 | Feckenham | 52.2524 | -1.9721 |  | FECK_6
| FERRA2 | _M | P5 | Ferrybridge A | 53.7201 | -1.2726 |  | FERRA2
| FERRB1 | _F | P5 | Ferrybridge B | 53.7221 | -1.2782 |  | FERRB1;FERRB_M
| FERRB_M | _M | P6 | Ferrybridge B | 53.7221 | -1.2782 |  | FERRB1;FERRB_M | Merge with FERRB1
| FETT_P | _P | T2 | Fetteresso | 56.9646 | -2.3474 |  | FETT_P;KINT_P
| FIDD_P | _P | T2 | Fiddes | 56.921 | -2.292 |  | FIDD_P
| FIDF_1 | _D | N1 | Fiddlers Ferry | 53.3716 | -2.6883 |  | FIDF_1
| FINN | _N | S5 | Finnieston | 55.8634 | -4.2861 |  | FINN
| FLEE_1 | _H | B3 | Fleet | 51.2502 | -0.88103 |  | FLEE_1;BRLE_1
| FAUG_P | _P | T1 | Fort Augustus | 57.1366 | -4.7145 |  | FAUG_P
| FWIL_P | _P | T1 | Fort William | 56.8193 | -5.0743 |  | FWIL_P
| FOUR_1 | _F | Q8 | Fourstones | 55.0123 | -2.1634 |  | FOUR_1
| FRAS_P | _P | T2 | Fraserburgh | 57.6862 | -2.024 |  | FRAS_P
| FROD_1 | _D | N3 | Frodsham | 53.3094 | -2.7173 |  | FROD_1
| GALA | _N | S6 | Galashiels | 55.6078 | -2.7665 |  | GALA
| GIFF | _N | S6 | Giffnock | 55.798 | -4.2977 |  | GIFF
| GLEF_P | _P | T1 | Glenfarclas | 57.416 | -3.316 |  | BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P
| GLLE | _N | S6 | Glenlee | 55.0972 | -4.181 |  | TONG;CAFA;EAST;GLLE;KEOO | Galloway Hydros - Merge to Tongland
| GLLU | _N | S6 | Glenluce | 54.8766 | -4.798 |  | GLLU
| GLNI | _N | S5 | Glenniston | 56.1084 | -3.2671 |  | GLNI
| GLRO | _N | S5 | Glenrothes | 56.204 | -3.1963 |  | GLRO
| GORG | _N | S6 | Gorgie | 55.935 | -3.2348 |  | GORG
| GOVA | _N | S6 | Govan | 55.8535 | -4.3142 |  | GOVA
| GREE_H | _H | A7 | Greenford | 51.535 | -0.25705 |  | ACTL_2;CBNK_H;GREE_H;PERI_H
| GREN_1 | _B | J6 | Grendon | 52.2434 | -0.72568 |  | GREN_1
| GRIW_1 | _M | P7 | Grimsby West | 53.566 | -0.15076 |  | GRIW_1
| GRUB_P | _P | T1 | Grudie Bridge | 57.6145 | -4.8299 |  | GRUB_P
| HACK_1 | _C | A1 | Hackney 132kV | 51.5595 | -0.040784 |  | HACK_1;HACK_6
| HACK_6 | _C | A1 | Hackney 66kV | 51.5595 | -0.044431 |  | HACK_1;HACK_6
| HAGR | _N | S6 | Haggs Road | 55.83 | -4.2965 |  | HAGR
| HAMHC1 | _E | L3 | Hams Hall | 52.5287 | -1.7087 |  | HAMHC1
| HARK_1 | _G | Q8 | Harker | 54.9415 | -2.9644 |  | HARK_1;HUTT_1;RRIG
| HARM_6 | _F | Q4 | Hart Moor | 54.7012 | -1.2906 |  | HARM_6
| HAWI | _N | S6 | Hawick | 55.4282 | -2.791 |  | HAWI
| HAWP_6 | _F | Q4 | Hawthorn Pit | 54.8063 | -1.4016 |  | HAWP_6
| HELE | _N | S5 | Helensburgh | 56.0199 | -4.701 |  | HELE
| HEYS_1 | _G | R5 | Heysham (NGET) | 54.0327 | -2.889 |  | HEYS_1;HEYS1;ORMO
| HEYS1 | _G | R5 | Heysham (Barrow WF) | 54.0327 | -2.889 |  | HEYS_1;HEYS1;ORMO
| HUER | _N | S6 | Hunterston Farm | 55.7432 | -4.8635 |  | HUER
| HURS_1 | _C | A8 | Hurst | 51.4358 | 0.15361 |  | HURS_1
| HUTT_1 | _G | R6 | Hutton | 54.2978 | -2.6721 |  | HARK_1;HUTT_1;RRIG
| IMPK_1 | _D | H6 | Imperial Park | 51.5474 | -3.0315 |  | IMPK_1
| INDQ1 | _L | F6 | Indian Queens | 50.3949 | -4.9008 |  | INDQ1
| INKE | _N | S5 | Inverkeithing | 56.0422 | -3.3895 |  | INKE
| INNE_P | _P | T1 | Inverness | 57.452 | -4.2414 |  | INNE_P
| IROA1 | _L | G5 | Iron Acton | 51.569 | -2.4813 |  | IROA1
| IRONB1 | _E | L5 | Ironbridge | 52.6325 | -2.51 |  | IRONB1
| ISLI_1 | _C | A7 | Islington | 51.5614 | -0.11344 |  | WHAM_1;ISLI_1 | Merge with WHAM_1
| IVER_1 | _H | A6 | Iver 132kV | 51.5418 | -0.49764 |  | IVER_1;IVER_6
| IVER_6 | _H | A6 | Iver 66kV | 51.5413 | -0.49651 |  | IVER_1;IVER_6
| JOHN | _N | S6 | Johnstone | 55.8443 | -4.5041 |  | JOHN
| JORD_3 | _M | P3 | Jordanthorpe | 53.3301 | -1.4534 |  | JORD_3
| KAIM | _N | S6 | Kaimes | 55.8905 | -3.1634 |  | KAIM
| KEAD_1 | _M | P8 | Keadby | 53.5972 | -0.75792 |  | KEAD_1
| KEAR_1 | _G | N4 | Kearsley 132kV | 53.5382 | -2.359 |  | KEAR_1;KEAR_3
| KEAR_3 | _G | N4 | Kearsley 33kV | 53.5382 | -2.359 |  | KEAR_1;KEAR_3
| KEIT_P | _P | T1 | Keith | 57.5376 | -2.9327 |  | BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P
| KEMS_1 | _J | C3 | Kemsley | 51.3673 | 0.74064 |  | KEMS_1
| KEOO | _N | S6 | Kendoon | 55.1608 | -4.1805 |  | TONG;CAFA;EAST;GLLE;KEOO | Galloway Hydros - Merge to Tongland
| KIER | _N | S5 | Killermont | 55.9033 | -4.3099 |  | KIER
| KIIN_P | _P | T4 | Killin | 56.4754 | -4.3245 |  | KIIN_P
| KILS | _N | S6 | Kilmarnock South | 55.5796 | -4.456 |  | KILS
| KILT | _N | S6 | Kilmarnock Town | 55.5931 | -4.487 |  | KILT
| KILW | _N | S6 | Kilwinning | 55.664 | -4.6781 |  | KILW
| KINO_1 | _J | C2 | Kingsnorth | 51.42 | 0.59622 |  | KINO_1
| KINL_P | _P | T1 | Kinlochleven | 56.7136 | -4.95 |  | KINL_P
| KINT_P | _P | T2 | Kintore | 57.2129 | -2.374 |  | FETT_P;KINT_P
| KIBY_1 | _D | N1 | Kirkby (_D) | 53.4693 | -2.8495 |  | KIBY_1
| KIBY_G | _G | N1 | Kirkby (_G) | 53.4693 | -2.8495 |  | WASF_1;KIBY_G
| KIRKB1 | _M | P1 | Kirkstall B | 53.8058 | -1.5968 |  | KIRKB1
| KITW_1 | _E | L2 | Kitwell | 52.4313 | -2.0132 |  | KITW_1
| KNAR | _F | P2 | Knaresborough | 54.0312 | -1.4878 |  | KNAR
| LACK_6 | _F | Q2 | Lackenby | 54.5677 | -1.1334 |  | LACK_6
| LAIR_P | _P | T5 | Lairg | 58.0081 | -4.395 |  | LAIR_P
| LALE1SG003 | _H | A6 | Laleham | 51.4244 | -0.46938 |  | LALE1SG003
| LAND1 | _L | F6 | Landulph | 50.4443 | -4.2421 |  | LAND1
| LEGA_1 | _D | M4 | Legacy | 53.0289 | -3.052 |  | LEGA_1
| LEVE | _N | S5 | Leven | 56.2078 | -2.9972 |  | LEVE
| LINM | _N | S6 | Linnmill | 55.9031 | -4.2568 |  | LINM
| LISD_1 | _D | N1 | Lister Drive | 53.4194 | -2.9238 |  | LISD_1
| LITT_C | _C | A8 | Littlebrook (_C) | 51.4606 | 0.24439 |  | LITT_C
| LITT_J | _J | A8 | Littlebrook (_J) | 51.4606 | 0.24439 |  | LITT_J
| LING | _N | S6 | Livingston East | 55.9074 | -3.5068 |  | LING
| LODR_6 | _C | A7 | Lodge Road | 51.5284 | -0.17053 |  | LODR_6
| LOUD_H | _H | A6 | Loudwater | 51.6642 | -0.65512 |  | LOUD_H
| LOVE_1 | _H | B2 | Lovedean | 50.9162 | -1.0402 |  | LOVE_1
| LUNA_P | _P | T4 | Lunanhead | 56.6544 | -2.865 |  | LUNA_P
| LYND_P | _P | T4 | Lyndhurst | 56.4811 | -3.017 |  | LYND_P
| MACC_3 | _G | N6 | Macclesfield | 53.2686 | -2.1206 |  | MACC_3
| MACD_P | _P | T1 | Macduff | 57.6594 | -2.491 |  | MACD_P
| MANN_1 | _H | E1 | Mannington | 50.8472 | -1.8948 |  | MANN_1
| MAGA_6 | _K | H1 | Margam | 51.56 | -3.7541 |  | MAGA_6
| MAYB | _N | S6 | Maybole | 55.337 | -4.677 |  | MAYB
| MELK_1 | _H | G6 | Melksham | 51.3918 | -2.1504 |  | MELK_1
| MILH_1 | _A | A6 | Mill Hill | 51.618 | -0.20954 |  | MILH_1
| MILC_P | _P | T4 | Milton of Craigie | 56.4686 | -2.917 |  | MILC_P
| MITY_1 | _H | G6 | Minety | 51.6075 | -2.0012 |  | MITY_1
| MYBS_P | _P | T5 | Mybster | 58.4449 | -3.4219 |  | MYBS_P
| NAIR_P | _P | T1 | Nairn | 57.574 | -3.8445 |  | NAIR_P
| NECE_1 | _E | L3 | Nechells | 52.507 | -1.8512 |  | NECE_1
| NEEP_3 | _M | P3 | Neepsend | 53.4061 | -1.4892 |  | NEEP_3
| NEWX_6 | _C | A4 | New Cross | 51.4838 | -0.06132 |  | NEWX_6 | Was NEWX_6;NEWX_7 but no NEWX_7 so adjusted.
| NEAR | _N | S6 | Newarthill | 55.8213 | -3.936 |  | NEAR
| NETS | _N | S6 | Newton Stewart | 54.9484 | -4.491 |  | NETS
| NINF_1 | _J | B1 | Ninfield | 50.8807 | 0.4495 |  | NINF_1
| NHYD_6 | _H | A6 | North Hyde | 51.4992 | -0.41142 |  | NHYD_6
| NFLE | _J | C2 | Northfleet East | 51.428 | 0.32973 |  | NFLE
| NORT_1 | _F | Q4 | Norton | 54.5922 | -1.3628 |  | NORT_1
| NORL_3 | _M | P3 | Norton Lees | 53.3499 | -1.4699 |  | NORL_3
| NORM_1 | _A | J3 | Norwich Main | 52.5733 | 1.2718 |  | NORM_1;SALL1
| NURS_1 | _H | B2 | Nursling | 50.9409 | -1.4879 |  | NURS_1
| OCKH_1 | _E | L2 | Ocker Hill | 52.541 | -2.0331 |  | OCKH_1
| OFFE_3 | _F | Q4 | Offerton | 54.8812 | -1.4576 |  | OFFE_3
| OLDB_1 | _E | L2 | Oldbury | 52.4985 | -2.0223 |  | OLDB_1
| ORMO | _G | R5 | Ormonde | 54.0327 | -2.889 |  | HEYS_1;HEYS1;ORMO | OFTO for Ormonde OSW. Merge with HEYS_1
| ORRI_P | _P | T1 | Orrin | 57.5537 | -4.6163 |  | BEAU_P;ORRI_P
| OSBA_1 | _F | P6 | Osbaldwick | 53.9564 | -1.0243 |  | OSBA_1
| PADIB1 | _G | N5 | Padiham | 53.7945 | -2.3274 |  | PADIB1
| PAIS | _N | S6 | Paisley | 55.8391 | -4.4107 |  | PAIS
| PART | _N | S5 | Partick | 55.8695 | -4.3161 |  | PART
| PELH_1 | _A | D5 | Pelham | 51.9351 | 0.11679 |  | PELH_1
| PEMB_1 | _K | H6 | Pembroke | 51.6822 | -4.9873 |  | PEMB_1
| PENN_1 | _E | L1 | Penn | 52.5565 | -2.2083 |  | PENN_1
| PENT_1 | _D | M6 | Pentir | 53.187 | -4.1596 |  | PENT_1
| PENE_1 | _G | R4 | Penwortham East | 53.7443 | -2.7551 |  | PENE_1
| PENW_1 | _G | R4 | Penwortham West | 53.7443 | -2.7551 |  | PENW_1;STAH_1;WABO
| PERI_H | _H | A7 | Perivale | 51.535 | -0.25705 |  | ACTL_2;CBNK_H;GREE_H;PERI_H
| PERS_P | _P | T2 | Persley | 57.1741 | -2.1384 |  | PERS_P
| PEHG_P | _P | T2 | Peterhead Grange | 57.5046 | -1.7841 |  | PEHG_P
| PEHS_P | _P | T2 | Peterhead Shell | 57.5079 | -1.7843 |  | PEHS_P;STRI_P
| PITS_3 | _M | P3 | Pitsmoor | 53.3997 | -1.4463 |  | PITS_3
| POPP_3 | _F | P2 | Poppleton | 53.9744 | -1.1329 |  | POPP_3
| PORA_P | _P | T3 | Port Ann | 56.026 | -5.35 |  | PORA_P
| PORD | _N | S5 | Port Dundas | 55.8731 | -4.2538 |  | PORD
| POOB | _N | S6 | Portobello | 55.9523 | -3.1225 |  | POOB
| PYLE_1 | _K | H1 | Pyle | 51.5358 | -3.6877 |  | PYLE_1
| QUOI_P | _P | T1 | Quoich | 57.0695 | -5.1077 |  | QUOI_P
| RAIN_1 | _D | N1 | Rainhill | 53.4211 | -2.7378 |  | RAIN_1
| RANN_P | _P | T4 | Rannoch | 56.6902 | -4.3987 |  | RANN_P
| RASS_1 | _K | H6 | Rassau | 51.8087 | -3.2257 |  | RASS_1
| RATS_1 | _B | L7 | Ratcliffe | 52.8633 | -1.2527 |  | RATS_1
| RAVE | _N | S6 | Ravenscraig | 55.7642 | -3.9288 |  | WISH;RAVE | Merge with Wishaw
| RAYL_1 | _A | C5 | Rayleigh | 51.5936 | 0.56852 |  | RAYL_1
| REBR_3 | _C | A1 | Redbridge | 51.5892 | 0.04405 |  | REBR_3
| REDH | _N | S5 | Redhouse | 56.1453 | -3.148 |  | REDH
| REDM_P | _P | T2 | Redmoss | 57.1084 | -2.0916 |  | REDM_P
| RICH_J | _J | C7 | Richborough | 51.3087 | 1.3459 |  | CANTN1;RICH1;RICH_J | RICH1 not found (since RICH_J came online and replaced it)
| RRIG | _G | Q8 | Robin Rigg | 54.9415 | -2.9644 |  | HARK_1;HUTT_1;RRIG | OFTO for Robin Rigg OSW. Merge with HARK_1
| ROCH_1 | _G | N4 | Rochdale | 53.6217 | -2.2155 |  | ROCH_1
| RUGEB1 | _E | L5 | Rugeley | 52.7538 | -1.9126 |  | RUGEB1
| RYEH_1 | _A | A9 | Rye House | 51.7581 | 0.0034608 |  | RYEH_1
| SALT_1 | _M | P8 | Saltend North | 53.7428 | -0.23808 |  | SALT_1
| SALH_1 | _F | Q2 | Saltholme | 54.607 | -1.2383 |  | SALH_1
| SEAB1 | _L | G7 | Seabank | 51.5363 | -2.6705 |  | SEAB1
| SELL_1 | _J | C4 | Sellindge | 51.1062 | 0.97755 |  | SELL_1
| SHEC_3 | _M | P3 | Sheffield City | 53.3753 | -1.4771 |  | SHEC_3
| SALL1 | _A | J3 | Sheringham Shoal | 52.5733 | 1.2718 |  | NORM_1;SALL1 | OFTO for OSW. Merge with NORM_1
| SHIN_P | _P | T5 | Shin | 57.9382 | -4.404 |  | SHIN_P
| SHRW_1 | _E | L5 | Shrewsbury | 52.7097 | -2.6927 |  | SHRW_1
| SHRU | _N | S6 | Shrubhill | 55.9653 | -3.1849 |  | SHRU
| SIGH | _N | S6 | Sighthill | 55.9257 | -3.3 |  | SIGH
| SKLGB1 | _M | P1 | Skelton Grange | 53.7756 | -1.4965 |  | SKLGB1
| SLOY_P | _P | T3 | Sloy | 56.2464 | -4.704 |  | SLOY_P
| SMAN_1 | _G | N2 | South Manchester | 53.4221 | -2.2751 |  | SMAN_1
| SSHI_3 | _F | Q4 | South Shields | 54.9733 | -1.4501 |  | SSHI_3
| SPAV | _N | S6 | Spango Valley | 55.9355 | -4.8113 |  | SPAV
| SPEN_1 | _F | Q7 | Spennymoor | 54.7048 | -1.5544 |  | SPEN_1
| SANX | _N | S6 | St Andrews Cross | 56.3407 | -2.7959 |  | SANX
| SFEG_P | _P | T2 | St Fergus Gas Terminal | 57.5788 | -1.8413 |  | SFEG_P
| SFIL_P | _P | T4 | St Fillans | 56.4346 | -4.0653 |  | SFIL_P
| SJOW_1 | _C | A7 | St John's Wood | 51.5271 | -0.17175 |  | SJOW_1
| SASA | _D | M6 | St. Asaph | 53.2567 | -3.4691 |  | CONQA1;SASA | OSW. Merge with CONQA1
| STAL_1 | _G | N7 | Stalybridge | 53.4922 | -2.0437 |  | STAL_1
| STAH_1 | _G | R4 | Stanah | 53.8797 | -2.9898 |  | PENW_1;STAH_1;WABO
| STAY_1 | _B | K5 | Staythorpe | 53.0775 | -0.86897 |  | STAY_1
| STEN_1 | _F | Q5 | Stella North | 54.9781 | -1.7245 |  | STEN_1
| STES_1 | _F | Q5 | Stella South | 54.9744 | -1.7325 |  | STES_1
| STIR | _N | S5 | Stirling | 56.1157 | -3.9146 |  | STIR
| SBAR | _B | L7 | Stoke Bardolph | 52.9598 | -1.0506 |  | SBAR
| STHA | _N | S6 | Strathaven | 55.7526 | -4.0802 |  | STHA
| STLE | _N | S5 | Strathleven | 55.9469 | -4.5761 |  | STLE
| STRI_P | _P | T2 | Strichen | 57.5862 | -2.07 |  | PEHS_P;STRI_P
| SUND_1 | _A | D4 | Sundon | 51.9333 | -0.50157 |  | SUND_1
| SWAN_1 | _K | H6 | Swansea North | 51.6827 | -3.961 |  | SWAN_1
| TARL_P | _P | T2 | Tarland | 57.1515 | -2.788 |  | TARL_P
| TAUN1 | _L | E8 | Taunton | 51.0169 | -3.1528 |  | TAUN1
| TAYN_P | _P | T3 | Taynuilt | 56.4301 | -5.214 |  | TAYN_P
| TELR | _N | S6 | Telford Road | 55.9615 | -3.2413 |  | TELR
| TEMP_3 | _M | P3 | Templeborough | 53.4121 | -1.385 |  | TEMP_3
| THOM_6 | _M | P6 | Thorpe Marsh | 53.5792 | -1.087 |  | THOM_6
| THUR_6 | _M | P3 | Thurcroft | 53.4048 | -1.2666 |  | THUR_6
| THSO_P | _P | T5 | Thurso | 58.5722 | -3.5094 |  | THSO_P
| TILBB_1 | _A | C1 | Tilbury | 51.4611 | 0.39161 |  | TILBB_1 | Was TILBB_1;TILBB_2 but there is no TILBB_2 so adjusted.
| TONG | _N | S6 | Tongland | 54.8545 | -4.026 |  | TONG;CAFA;EAST;GLLE;KEOO
| TOTT_1 | _A | A1 | Tottenham | 51.6038 | -0.048684 |  | TOTT_1
| TRAW_1 | _D | M7 | Trawsfynydd | 52.9289 | -3.9506 |  | TRAW_1
| TUMB_P | _P | T4 | Tummel Bridge | 56.7064 | -4.0162 |  | TUMB_P
| TYNE_1 | _F | Q4 | Tynemouth 1 | 55.0238 | -1.4993 |  | TYNE_1;TYNE_2
| TYNE_2 | _F | Q4 | Tynemouth 2 | 55.0238 | -1.4993 |  | TYNE_1;TYNE_2
| UPPB_1 | _K | H2 | Upper Boat 132kV | 51.5752 | -3.2975 |  | UPPB_1;UPPB_3
| UPPB_3 | _K | H2 | Upper Boat 33kV | 51.5757 | -3.2996 |  | UPPB_1;UPPB_3
| USKM_1 | _K | H2 | Uskmouth | 51.5487 | -2.9755 |  | USKM_1;ALST_3
| WALH_1 | _E | G1 | Walham | 51.8716 | -2.2662 |  | WALH_1
| WABO | _G | R4 | Walney 2 | 53.8797 | -2.9898 |  | PENW_1;STAH_1;WABO | OSW merge with Stannah (STAH_1)
| WALP_1 | _A | J1 | Walpole (_A) | 52.7277 | 0.19893 |  | WALP_1
| WALP_B | _B | J1 | Walpole (_B) | 52.7277 | 0.19893 |  | WALP_B
| WARL_1 | _A | C6 | Warley | 51.553 | 0.30064 |  | WARL_1
| WASF_1 | _G | N1 | Washway Farm | 53.5622 | -2.8197 |  | WASF_1;KIBY_G
| WATFS_1 | _A | A6 | Watford South | 51.6423 | -0.40509 |  | WATFS_1
| WBOL_6 | _F | Q4 | West Boldon | 54.9401 | -1.472 |  | WBOL_6
| WBUR_1 | _B | K6 | West Burton | 53.3604 | -0.80717 |  | WBUR_1
| WGEO | _N | S5 | West George Street | 55.8626 | -4.2641 |  | WGEO
| WHAM_1 | _C | A1 | West Ham | 51.5196 | 0.0018434 |  | WHAM_1;ISLI_1
| WMEL_1 | _M | P3 | West Melton | 53.5019 | -1.3785 |  | WMEL_1
| WTHU31 | _A | A1 | West Thurrock | 51.4723 | 0.28938 |  | WTHU31
| WWEY_1 | _J | A8 | West Weybridge | 51.348 | -0.48908 |  | WWEY_1
| WFIE | _N | S5 | Westfield | 56.1628 | -3.2959 |  | WFIE
| WHGA_1 | _G | N4 | Whitegate | 53.5296 | -2.1635 |  | WHGA_1
| WHHO | _N | S6 | Whitehouse | 55.9302 | -3.1994 |  | WHHO
| WIEN_1 | _E | L2 | Willenhall | 52.5768 | -2.0598 |  | WIEN_1
| WISD_1 | _C | A7 | Willesden 132kV | 51.5346 | -0.25715 |  | WISD_6;WISD_1;ACTL_C
| WISD_6 | _C | A7 | Willesden 66kV | 51.535 | -0.25705 |  | WISD_6;WISD_1;ACTL_C
| WILL_1 | _B | L5 | Willington | 52.8561 | -1.5488 |  | WILL_1
| WIOW_P | _P | T2 | Willowdale | 57.1538 | -2.0971 |  | WIOW_P
| WIMBN1 | _C | A4 | Wimbledon North | 51.431 | -0.18803 |  | WIMBS1;WIMBN1
| WIMBS1 | _C | A4 | Wimbledon South | 51.431 | -0.18803 |  | WIMBS1;WIMBN1
| WIBA_3 | _M | P3 | Wincobank | 53.4133 | -1.4177 |  | WIBA_3
| WISH | _N | S6 | Wishaw | 55.7642 | -3.9288 |  | WISH;RAVE
| WOHI_P | _P | T2 | Woodhill | 57.1542 | -2.1463 |  | WOHI_P
| WYLF_1 | _D | M8 | Wylfa | 53.4136 | -4.4823 |  | WYLF_1
| WYMOM_1 | _A | D5 | Wymondley | 51.9285 | -0.25037 |  | WYMOM_1
| G_EXTRA_1 | _N | S6 | Dumfries 11 | 55.0619 | -3.583 | GSP "DUMF" modelled as 3 parts (split busbar) | DUMF
| G_EXTRA_2 | _N | S6 | Dumfries 33 | 55.0619 | -3.583 | GSP "DUMF" modelled as 3 parts (split busbar) | DUMF
| G_EXTRA_3 | _N | S6 | Dumfries ICI | 55.0619 | -3.583 | GSP "DUMF" modelled as 3 parts (split busbar) | DUMF
| G_EXTRA_4 | _N | S6 | Grangemouth A | 56.0018 | -3.6893 | GSP "GRMO" modelled as 2 parts (split busbar) | GRMO
| G_EXTRA_5 | _N | S6 | Grangemouth C | 56.0018 | -3.6893 | GSP "GRMO" modelled as 2 parts (split busbar) | GRMO
| G_EXTRA_6 | _N | S5 | Kilbowie 11 | 55.9047 | -4.4121 | GSP "KILB" modelled as 2 parts (split busbar) | KILB
| G_EXTRA_7 | _N | S5 | Kilbowie 33 | 55.9047 | -4.4121 | GSP "KILB" modelled as 2 parts (split busbar) | KILB
| G_EXTRA_8 | _N | S6 | Saltcoats A | 55.646 | -4.7938 | GSP "SACO" modelled as 2 parts (split busbar) | SACO
| G_EXTRA_9 | _N | S6 | Saltcoats B | 55.646 | -4.7938 | GSP "SACO" modelled as 2 parts (split busbar) | SACO
| G_EXTRA_10 | _N | S6 | Crookston A | 55.8211 | -4.3643 | GSP "CROO" modelled as 2 parts (split busbar) | CROO
| G_EXTRA_11 | _N | S6 | Crookston B | 55.8211 | -4.3643 | GSP "CROO" modelled as 2 parts (split busbar) | CROO
| G_EXTRA_12 | _P | #N/A | Shetland | 60.2758 | -1.2759 | Not included in this workbook. Strictly not a GSP. | G_EXTRA_12 | Shetland (do we want to show this?)
| G_EXTRA_13 | _P | T2 | Rothienorman | #N/A | #N/A | Potential new build GSP within forecast. | #N/A | Merge back to current
| G_EXTRA_14 | _P | #N/A | Finstown | #N/A | #N/A | Potential new build GSP within forecast. | #N/A | Merge back to current
| G_EXTRA_15 | _N | S6 | Lesmahagow | #N/A | #N/A |  | #N/A | Merge back to current
| G_EXTRA_16 | _N | S6 | Moffat | #N/A | #N/A |  | #N/A | Merge back to current
| DUNB_A | _N | S6 | Dunbar A | #N/A | #N/A | GSP "DUNB" modelled as 2 parts (split busbar) from 2020 | DUNB
| DUNB_B | _N | S6 | Dunbar B | #N/A | #N/A | GSP "DUNB" modelled as 2 parts (split busbar) from 2020 | DUNB
Note on H356: Nickerson, Rob: This has now been disconnected after demand/generation amalgamated with Dumfries 33.

## GSPs 2019
GSPs in the GeoJSON (GSP 2019 regions after processing)
The following table gives the GSPs in the geoJSON. Some cover multiple elexon registered GSPs as it was not possible to split the geographic extent out.
GSP(s) in geojson | Count
ABHA1 | 1
ABNE_P | 1
ABTH_1 | 1
ACTL_2;CBNK_H;GREE_H;PERI_H | 4
ALNE_P | 1
ALVE1 | 1
AMEM_1 | 1
ARBR_P | 1
ARDK_P;CLAC_P | 2
ARMO_P | 1
AXMI1 | 1
AYRR | 1
BAGA | 1
BAIN | 1
BARKC1;BARKW3 | 2
BEAU_P;ORRI_P | 2
BEDD_1 | 1
BEDDT1 | 1
BERB_P;CAIF_P;DALL_P;GLEF_P;KEIT_P | 5
BERW | 1
BESW_1 | 1
BICF_1 | 1
BIRK_1 | 1
BISW_1 | 1
BLYTB1 | 1
BLYTH132 | 1
BOAG_P | 1
BOLN_1 | 1
BONN | 1
BOTW_1 | 1
BRAC_P | 1
BRAI_1 | 1
BRAP | 1
BRAW_1 | 1
BRED_1 | 1
BRFO_1;CLT03 | 2
BRID_P | 1
BRIM_1 | 1
BROA_P | 1
BROR_P | 1
BROX | 1
BRWA1 | 1
BUMU_P | 1
BURM_1 | 1
BUSH_1 | 1
BUST_1 | 1
CAAD_P | 1
CAMB_01 | 1
CANTN1;RICH1;RICH_J | 2
CAPEA1 | 1
CARE_1 | 1
CARR_1 | 1
CASS_P | 1
CATY | 1
CEAN_P | 1
CELL_1 | 1
CHAP | 1
CHAR_P | 1
CHAS | 1
CHIC_1 | 1
CHSI_1 | 1
CHTE_1 | 1
CITR_1 | 1
CLAY_P | 1
CLYM | 1
COAT | 1
COCK | 1
CONQA1;SASA | 2
COUA_P | 1
COVE_1 | 1
COWL_1;ECLA_H | 2
COYL | 1
CRAI_P | 1
CREB_1 | 1
CROO | 2
CUMB | 1
CUPA | 1
CURR | 1
DALM3 | 1
DEVM | 1
DEVO | 1
DEWP | 1
DOUN_P | 1
DRAK_1 | 1
DRAX_1 | 1
DRCR | 1
DRUM | 1
DUBE_P | 1
DUDH_P | 1
DUGR_P | 1
DUMF | 3
DUNB | 3
DUNF | 1
DUNO_P | 1
DYCE_P | 1
EALI_6 | 1
EASO_1 | 1
ECCL | 1
ECLA_1 | 1
EERH | 1
EKIL | 1
EKIS | 1
ELDE | 1
ELGI_P | 1
ELLA_1 | 1
ELST_1 | 1
ENDE_1 | 1
ERSK | 1
EXET1 | 1
FASN_P | 1
FAUG_P | 1
FAWL_1 | 1
FECK_6 | 1
FERRA2 | 1
FERRB1;FERRB_M | 2
FETT_P;KINT_P | 2
FIDD_P | 1
FIDF_1 | 1
FINN | 1
FLEE_1;BRLE_1 | 2
FOUR_1 | 1
FRAS_P | 1
FROD_1 | 1
FWIL_P | 1
G_EXTRA_12 | 1
GALA | 1
GIFF | 1
GLLU | 1
GLNI | 1
GLRO | 1
GORG | 1
GOVA | 1
GREN_1 | 1
GRIW_1 | 1
GRMO | 2
GRUB_P | 1
HACK_1;HACK_6 | 2
HAGR | 1
HAMHC1 | 1
HARK_1;HUTT_1;RRIG | 3
HARM_6 | 1
HAWI | 1
HAWP_6 | 1
HELE | 1
HEYS_1;HEYS1;ORMO | 3
HUER | 1
HURS_1 | 1
IMPK_1 | 1
INDQ1 | 1
INKE | 1
INNE_P | 1
IROA1 | 1
IRONB1 | 1
IVER_1;IVER_6 | 2
JOHN | 1
JORD_3 | 1
KAIM | 1
KEAD_1 | 1
KEAR_1;KEAR_3 | 2
KEMS_1 | 1
KIBY_1 | 1
KIER | 1
KIIN_P | 1
KILB | 2
KILS | 1
KILT | 1
KILW | 1
KINL_P | 1
KINO_1 | 1
KIRKB1 | 1
KITW_1 | 1
KNAR | 1
LACK_6 | 1
LAIR_P | 1
LALE1SG003 | 1
LAND1 | 1
LEGA_1 | 1
LEVE | 1
LING | 1
LINM | 1
LISD_1 | 1
LITT_C | 1
LITT_J | 1
LODR_6 | 1
LOUD_H | 1
LOVE_1 | 1
LUNA_P | 1
LYND_P | 1
MACC_3 | 1
MACD_P | 1
MAGA_6 | 1
MANN_1 | 1
MAYB | 1
MELK_1 | 1
MILC_P | 1
MILH_1 | 1
MITY_1 | 1
MYBS_P | 1
NAIR_P | 1
NEAR | 1
NECE_1 | 1
NEEP_3 | 1
NETS | 1
NEWX_6 | 1
NFLE | 1
NHYD_6 | 1
NINF_1 | 1
NORL_3 | 1
NORM_1;SALL1 | 2
NORT_1 | 1
NURS_1 | 1
OCKH_1 | 1
OFFE_3 | 1
OLDB_1 | 1
OSBA_1 | 1
PADIB1 | 1
PAIS | 1
PART | 1
PEHG_P | 1
PEHS_P;STRI_P | 2
PELH_1 | 1
PEMB_1 | 1
PENE_1 | 1
PENN_1 | 1
PENT_1 | 1
PENW_1;STAH_1;WABO | 3
PERS_P | 1
PITS_3 | 1
POOB | 1
POPP_3 | 1
PORA_P | 1
PORD | 1
PYLE_1 | 1
QUOI_P | 1
RAIN_1 | 1
RANN_P | 1
RASS_1 | 1
RATS_1 | 1
RAYL_1 | 1
REBR_3 | 1
REDH | 1
REDM_P | 1
ROCH_1 | 1
RUGEB1 | 1
RYEH_1 | 1
SACO | 2
SALH_1 | 1
SALT_1 | 1
SANX | 1
SBAR | 1
SEAB1 | 1
SELL_1 | 1
SFEG_P | 1
SFIL_P | 1
SHEC_3 | 1
SHIN_P | 1
SHRU | 1
SHRW_1 | 1
SIGH | 1
SJOW_1 | 1
SKLGB1 | 1
SLOY_P | 1
SMAN_1 | 1
SPAV | 1
SPEN_1 | 1
SSHI_3 | 1
STAL_1 | 1
STAY_1 | 1
STEN_1 | 1
STES_1 | 1
STHA | 1
STIR | 1
STLE | 1
SUND_1 | 1
SWAN_1 | 1
TARL_P | 1
TAUN1 | 1
TAYN_P | 1
TELR | 1
TEMP_3 | 1
THOM_6 | 1
THSO_P | 1
THUR_6 | 1
TILBB_1 | 1
TONG;CAFA;EAST;GLLE;KEOO | 5
TOTT_1 | 1
TRAW_1 | 1
TUMB_P | 1
TYNE_1;TYNE_2 | 2
UPPB_1;UPPB_3 | 2
USKM_1;ALST_3 | 2
WALH_1 | 1
WALP_1 | 1
WALP_B | 1
WARL_1 | 1
WASF_1;KIBY_G | 2
WATFS_1 | 1
WBOL_6 | 1
WBUR_1 | 1
WFIE | 1
WGEO | 1
WHAM_1;ISLI_1 | 2
WHGA_1 | 1
WHHO | 1
WIBA_3 | 1
WIEN_1 | 1
WILL_1 | 1
WIMBS1;WIMBN1 | 2
WIOW_P | 1
WISD_6;WISD_1;ACTL_C | 3
WISH;RAVE | 2
WMEL_1 | 1
WOHI_P | 1
WTHU31 | 1
WWEY_1 | 1
WYLF_1 | 1
WYMOM_1 | 1

## EmbeddedOSW
Embedded offshore wind
Some offshore wind farms connect to the distribution network. This creates a GSP (Offshore transmission ‘OFTO’ to distribution substation)
Windfarm | GSP Group | GSP Id
Barrow Offshore Wind Farm | Distribution _G | HEYS1
Gunfleet Sands II Offshore Wind Farm | Distribution _A | CLT03
Gunfleet Sands Offshore Wind Farm | Distribution _A | CLT03
Ormonde Offshore Wind Farm | Distribution _G | ORMO
Robin Rigg East Offshore Wind Farm | Distribution _G | RRIG
Robin Rigg West Offshore Wind Farm | Distribution _G | RRIG
Sheringham Shoal Offshore Wind Farm | Distribution _A | SALL1
Thanet Offshore Wind Farm | Distribution _J | RICH1
Walney II Offshore Wind Farm | Distribution _G | WABO